	Parameter
	Specification

	Sensor
	CCD 486, scientific grade 1

	Resolution
	4096 x 4096 pixels

	Pixel Size
	15 µm x 15 µm

	Image Area
	61 mm x 61 mm

	Peak QE
	> 90% (back-illuminated)

> 40% (front-illuminated)

	Read Noise
	< 12 e- @ 1 MHz

< 7 e- @ 250 kHz

	Full Well
	> 80 ke- (single pixel)

	Linearity
	< 1%

	Dark Current
	< 0.1 e-/pix/sec

	Cooling
	- 50 ºC

	Output Ports 
	4

	Readout Rate
	4 MHz (4 x 1 MHz)

1 MHz (4 x 250 kHz)

	Binning & Windowing
	1x1, 2x2, 4x4 and 8x8

Arbitrary sized centered window

	Gain
	1.5 e-/ADU (nominal)

	ADC Range
	16-bit


Parameter Specification

